## Carbon
Note benefits are gross and in 2023/24 prices | [5 empty] | Y1 Achievements |  |  |  |  | Y2 Change | [5 empty] | Conversion Factor | [6 empty] | Y1 Achievements |  |  |  |  | Y2 Change |  |  |  |  | Y1 Achievements | Y2 Change | ED2 To-Date
Activity | Stakeholder | Direct? | Benefits Realised? | Benefits Unlocked? | Benefits Ambition? | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | Activity Units | Source | Value | Units | Adjustment Factor 1 | Notes | Adjustment Factor 2 | Notes | 2023/24 (ktCO2e) | 2024/25 (ktCO2e) | 2025/26 (ktCO2e) | 2026/27 (ktCO2e) | 2027/28 (ktCO2e) | 2023/24 (ktCO2e) | 2024/25 (ktCO2e) | 2025/26 (ktCO2e) | 2026/27 (ktCO2e) | 2027/28 (ktCO2e) | ED2 Total (ktCO2e) | ED2 Total (ktCO2e) | ED2 Total (ktCO2e)
Technical Limits - Realised | GB consumers | Indirect | Yes | Yes | Yes | 20 | N/A | N/A | N/A | N/A | N/A | 20 | N/A | N/A | N/A | MW (Cumulative Connected Capacity) | HM Treasury Green Book Table 1 | See 'Carbon Conversion Factors' worksheet | kgCO2e/kWh | 0.876 | 10% Capacity Factor 8760 hours per year Converting kg to kt and MWh to kWh | N/A |  | 3.9604 | 0 | 0 | 0 | 0 | 0 | 3.6787 | 0 | 0 | 0 | 3.9604 | 3.6787 | 7.6391
Technical Limits - Unlocked | [5 empty] | N/A | N/A | 163.14 | 1356.24 | 1626.24 | N/A | N/A | 29.04 | 470.54 | 1022.63 | [8 empty] | 0 | 0 | 27.538 | 206.8791 | 219.6526 | 0 | 0 | 4.9019 | 71.7756 | 138.1244 | 454.0697 | 214.8019 | 668.8715
Curtailable Connections - Unlocked | GB consumers | Indirect | No | Yes | No | 0 | 0 | 50.9 | 257.42 | 257.42 | 0 | 0 | 20 | 20 | 20 | [8 empty] | 0 | 0 | 8.5919 | 39.2665 | 34.7691 | 0 | 0 | 3.376 | 3.0508 | 2.7014 | 82.6276 | 9.1281 | 91.7557
Market Gateway facilitating low-carbon Flexibility - Realised | GB consumers | Indirect | Yes | No | No | 2320.83 | N/A | N/A | N/A | N/A | N/A | 3095.6475 | N/A | N/A | N/A | MWh (Delivered Flexibility) | HMT Treasury Green Book Table 2a, with 32% efficiency assumed minus HMT Treasury Green Book Table 1 | See 'Carbon Conversion Factors' worksheet | kgCO2e/kWh | 1000 | Converting MWh to kWh | 1e-06 | Converting kg to kt | 0.77066 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0 | 0 | 0 | 0.77066 | 1.1236 | 1.8943
[6 empty] | 32092.08 | N/A | N/A | N/A | N/A | N/A | 4649.3299 | N/A | N/A | N/A | kgCO2e (Delivered Emissions) | No conversion needed | 100% | N/A | 1

## Carbon Conversion Factors
Year | HM Treasury Green Book Table 1 Marginal Electricity Carbon Intensity Generation-Based (kgCO2e/kWh) | HM Treasury Green Book Table 1 Marginal Electricity Carbon Intensity Demand-Average (kgCO2e/kWh) | Electricity from gas Carbon Intensity (HMT Green Book Table 2a with 32% efficiency) (kgCO2e/kWh) | Electricity from gas minus Marginal Grid Intensity (kgCO2e/kWh)
2023/24 | 0.22605 | 0.22576 | 0.57165 | 0.34589
2024/25 | 0.20997 | 0.20718 | 0.57165 | 0.36447
2025/26 | 0.19269 | N/A | N/A | N/A
2026/27 | 0.17413 | N/A | N/A | N/A
2027/28 | 0.15419 | N/A | N/A | N/A

## Financials
Note benefits are gross and in 2023/24 prices, except for 'Uprating on replacement driven by asset condition', which is a net present value in 2023/24 prices. | [5 empty] | Y1 Achievements |  |  |  | Y2 Change |  |  |  |  | Conversion Factor |  |  |  |  | Y1 Achievements |  |  |  | Y2 Change |  |  |  | ED2 To-Date
Activity | Stakeholder | Direct Benefit? | Benefits Realised? | Benefits Unlocked? | Benefits Ambition? | Realised Activity | Unlocked Activity |  | Ambition Activity | Realised Activity | Unlocked Activity |  | Ambition Activity | Activity Units | Source | Value | Units | Adjustment Factor | Notes | Realised Benefit (£m) | Unlocked Benefit (£m) | Ambition Benefit (£m) | Total Benefit (£m) | Realised Benefit (£m) | Unlocked Benefit (£m) | Ambition Benefit (£m) | Total Benefit (£m) | Realised Benefit (£m) | Unlocked Benefit (£m) | Ambition Benefit (£m) | Total Benefit (£m)
LAs being supported to create LAEPs - Reduced Effort | LA | Direct | Yes | Yes | No | 1 | 0 |  | 0 | 14 | 52 |  | 0 | LAEPs | Sia Analysis - LAEP Reduced Effort | 0.42549 | £m/LAEP | 0.85 | Success: 100% Deadweight: 0% Attribution: 100% Optimism Bias: 15% Years: 1 | 0.36166 | 0 | 0 | 0.36166 | 5.0633 | 18.8065 | 0 | 23.8698 | 5.425 | 18.8065 | 0 | 24.2315
LAs being supported to create LAEPs - Societal Benefits | LA | Indirect | No | Yes | No | 0 | 0 |  | 0 | 0 | 66 |  | 0 | LAEPs | Sia Analysis - LAEP Societal Benefit | 57.1181 | £m/LAEP | 0.0216 | Success: 90% Deadweight: 20% Attribution: 1% Optimism Bias: 40% Years: 5 | 0 | 0 | 0 | 0 | 0 | 81.4275 | 0 | 81.4275 | 0 | 81.4275 | 0 | 81.4275
LAs being supported with other decarbonisation initatives - Reduced Effort | LA | Direct | Yes | No | No | 0 | 0 |  | 0 | 18 | 0 |  | 0 | Initiatives | Sia Analysis - Other Initiatives Reduced Effort | 0.008687 | £m/Initiative | 1 | Success: 100% Deadweight: 0% Attribution: 100% Optimism Bias: 0% Years: 1 | 0 | 0 | 0 | 0 | 0.15637 | 0 | 0 | 0.15637 | 0.15637 | 0 | 0 | 0.15637
DNOA process: DNOA outcomes recommending Flexibility – Capacity added | NGED consumers | Direct | Yes | No | No | 46.891 | 0 |  | 0 | 18.216 | 0 |  | 0 | MVA | NERA Report- Demand Capacity | 0.42689 | £m/MVA/year | 0.9 | Assuming 90% of dispatched Flex is useful in real-time | 18.0157 | 0 | 0 | 18.0157 | 6.9987 | 0 | 0 | 6.9987 | 25.0144 | 0 | 0 | 25.0144
DNOA process: Capacity added by Primary Reinforcement - Demand | NGED consumers | Direct | Yes | Yes | Yes | 0 | 324.7 |  | 222 | 10 | 890.7 |  | 1419 | MVA | NERA Report- Demand Capacity | 0.42689 | £m/MVA/year | 1.68 | 3 years of acceleration 56% average utilisation | 0 | 232.8688 | 159.2143 | 392.0831 | 7.1718 | 638.7935 | 1017.6805 | 1663.6458 | 7.1718 | 871.6623 | 1176.8948 | 2055.7289
DNOA process: Capacity added by Primary Reinforcement - Generation | NGED consumers | Direct | Yes | Yes | Yes | 0 | 0 |  | 0 | 0 | 18 |  | 257 | MVA | NERA Report- Generation Capacity | 0.32612 | £m/MVA/year | 1.68 | 3 years of acceleration 56% average utilisation | 0 | 0 | 0 | 0 | 0 | 9.8619 | 140.8059 | 150.6678 | 0 | 9.8619 | 140.8059 | 150.6678
DNOA process: Capacity added by Secondary Reinforcement | NGED consumers | Direct | Yes | Yes | Yes | 47.762 | 0 |  | 56.238 | 90.051 | 44.966 |  | 0 | MVA | NERA Report- Demand Capacity | 0.42689 | £m/MVA/year | 0.4 | 1 year of acceleration 40% average utilisation | 8.1557 | 0 | 9.6031 | 17.7588 | 15.3769 | 7.6783 | 0 | 23.0552 | 23.5326 | 7.6783 | 9.6031 | 40.8139
Uprating on replacement driven by Asset Condition | NGED consumers | Direct | No | Yes | No | 0 | 0 |  | 0 | 0 | 0.36364 |  | 0 | £m | No conversion needed | 1 | N/A | 1 | Calculated using Common Evaluation Methodology | 0 | 0 | 0 | 0 | 0 | 0.36364 | 0 | 0.36364 | 0 | 0.36364 | 0 | 0.36364
DNOA process: DNOA outcomes recommending operational mitigations | NGED consumers | Direct | No | Yes | No | 0 | 0 |  | 0 | 0 | 24.354 |  | 0 | £m | Totex Incentive Mechanism Sharing Factor | 50% | N/A | 1 |  | 0 | 0 | 0 | 0 | 0 | 12.177 | 0 | 12.177 | 0 | 12.177 | 0 | 12.177
Technical Limits | GB consumers | Direct | Yes | Yes | Yes | 20 | 20 | 1636 | 1592 | 20 | 20 | 1237 | 702 | MW | Headroom Project | 100 | £/MWh | 0.000876 | 10% Capacity Factor 8760 hours per year Conversion from £ to £m | 1.752 | 919.3594 | 767.2166 | 1688.328 | 1.752 | 557.273 | 217.0022 | 776.0273 | 3.504 | 1476.6324 | 984.2189 | 2464.3553
[6 empty] | 1 | 11.7616 | 6.2712 | 5.5014 | 1 | -1 | 5.1589 | 3.5288 | Average years
MW Dispatch | GB consumers | Direct | Yes | No | Yes | 0 | 0 |  | 0 | 49.7 | 0 |  | 1418.3 | MW | Headroom Project | 100 | £/MWh | 0.000876 | 10% Capacity Factor 8760 hours per year Conversion from £ to £m | 0 | 0 | 0 | 0 | 4.3537 | 0 | 124.2431 | 128.5968 | 4.3537 | 0 | 124.2431 | 128.5968
Enhanced queue management process | DER | Direct | No | Yes | No | 0 | 0 |  | 0 | 0 | 14.49 |  | 0 | £m | No conversion needed | 1 | N/A | 1 |  | 0 | 0 | 0 | 0 | 0 | 14.49 | 0 | 14.49 | 0 | 14.49 | 0 | 14.49
Enhanced outage planning process | DER | Direct | Yes | No | No | 58.3 | 0 |  | 0 | 241.772 | 0 |  | 0 | GWh | NERA Report- Generation Output | 93.3162 | £/MWh | 0.00015 | 15% Capacity Factor Conversion from £/MWh to £m/GWh | 0.81605 | 0 | 0 | 0.81605 | 3.3842 | 0 | 0 | 3.3842 | 4.2002 | 0 | 0 | 4.2002
Curtailable Connections | GB consumers | Direct | No | Yes | No | 0 | 1045.82 |  | 0 | 0 | 70 |  | 0 | MW | Headroom Project | 100 | £/MWh | 0.000876 | 10% Capacity Factor 8760 hours per year 1 year of acceleration Conversion from £ to £m | 0 | 91.6138 | 0 | 91.6138 | 0 | 6.132 | 0 | 6.132 | 0 | 97.7458 | 0 | 97.7458
Flexibility procurement | FSPs | Direct | Yes | No | No | 0.852 | 0 |  | 0 | 0.655 | 0 |  | 0 | £m | No conversion needed | 1 | N/A | 1 |  | 0.852 | 0 | 0 | 0.852 | 0.655 | 0 | 0 | 0.655 | 1.507 | 0 | 0 | 1.507
Market Gateway facilitating low-carbon Flexibility | GB consumers | Indirect | Yes | No | No | 770.664 | 0 |  | 0 | 1123.6155 | 0 |  | 0 | tCO2e | HMT Green Book Table 3 Central Estimate | 264.9342 | £/tCO2e | 1e-06 | Conversion from £ to £m | 0.20418 | 0 | 0 | 0.20418 | 0.29768 | 0 | 0 | 0.29768 | 0.50186 | 0 | 0 | 0.50186
Demand Turn-Up/Generation Turn-Down trial | FSPs | Direct | No | Yes | No | 0 | 0 |  | 0 | 0 | 0.099199 |  | 0 | £m | No conversion needed | 1 | N/A | 1 |  | 0 | 0 | 0 | 0 | 0 | 0.099199 | 0 | 0.099199 | 0 | 0.099199 | 0 | 0.099199
DNOA process: Reinforcement deferral - Excluded from ED2 Business Plan | NGED consumers | Direct | Yes | No | No | 64.983 | 0 |  | 0 | 0 | 0 |  | 0 | £m | No conversion needed | 100% | N/A | 1 |  | 64.983 | 0 | 0 | 64.983 | 0 | 0 | 0 | 0 | 64.983 | 0 | 0 | 64.983
DNOA process: Reinforcement deferral - Included in ED2 Business Plan | NGED consumers | Direct | Yes | No | Yes | 0 | 0 |  | 68.836 | 3.29 | 0 |  | 0 | £m | Totex Incentive Mechanism Sharing Factor | 50% | N/A | 1 |  | 0 | 0 | 34.418 | 34.418 | 1.645 | 0 | 0 | 1.645 | 1.645 | 0 | 34.418 | 36.063

## Financial Conversion Factors
Analysis | Value | Price Base | Conversion Factor | 2023/24 Value | Units
Sia Analysis - LAEP Reduced Effort | 0.42549 | 2023/24 | 1 | 0.42549 | £m/LAEP
Sia Analysis - LAEP Societal Benefit | 57.1181 | 2023/24 | 1 | 57.1181 | £m/LAEP
Sia Analysis - Other Initiatives Reduced Effort | 0.008687 | 2023/24 | 1 | 0.008687 | £m/Initiative
No conversion needed | 1 | 2023/24 | 1 | 1 | N/A
NERA Report- Demand Capacity | 0.398 | 2022 | 107.3% | 0.42689 | £m/MVA/year
NERA Report- Generation Capacity | 0.30405 | 2022 | 107.3% | 0.32612 | £m/MVA/year
NERA Report- Generation Output | 87 | 2022 | 107.3% | 93.3162 | £/MWh
Headroom Project | 100 | 2023/24 | 1 | 100 | £/MWh
Totex Incentive Mechanism Sharing Factor | 50% | N/A | 1 | 50% | N/A
HMT Green Book Table 3 Central Estimate | 264.9342 | 2023 | 1 | 264.9342 | £/tCO2e

## Dropdowns (hidden)
Column1 | Column1 | Column1 | Column1
Yes | Fully quantified | Domestic Customers | Yes
No | Quantified, need Sia review | Commercial & Industrial Customers | No
Partially | Methodology developed | FSPs and Aggregators | Not decided yet
Not yet confirmed | Data received, Methodology next | NESO
| Not quantified yet | DER
| No plans to quantify | Local Authorities
N/A